SCS LINK INFORMATION

- EM2 LINK CONFIGURATION

Program      		:	Program/FactorySuit/IOSER/ABB Serial Link

Com Port Used 	:	COM11 for LAM1 Temparatures

COM12 for LAM2 Tempratures

- Simence LINK CONFIGURATION

Program      		:	Program/FactorySuit/IOSER/Modbus Link

Com Port Used 	:	COM5 for LAM1 Temparatures

- ABB DRIVE LINK CONFIGURATION

Program      		:	Program/IndustrialCommunication/EXCOM DDE Server/ EXCOM

Com Port Used 	:	COM6

- GAUGE LINK Information

Program      		:	Program/InformaticSystems/Lagacy Connect

Progeam/FactorySuite/IO Server/OPC Link

- FMS LINK Information

- Oracle SQL Net-Easy Setting

- ODBC Setting